SECTION 12 12 30

ART HANGING AND DISPLAY SYSTEMS

DISPLAY REVEAL SYSTEM

Display hidden notes to specifier. (Don't know how? Click Here)

Copyright 2016 - AS Hanging Display Systems - All rights reserved

Copyright 2016 - 2016 ARCAT, Inc. - All rights reserved

** NOTE TO SPECIFIER ** AS Hanging Display Systems; art and display interior specialty fittings.
This section is based on the products of AS Hanging Display Systems, which is located at:
8396 State Route 9
West Chazy, NY 12992 
Toll Free Tel: 866-935-6949 
Email: request info (info@ashanging.com)
Web: www.ashanging.com  
 [ Click Here ] for additional information.
AS Hanging Display Systems has been active in the area of art and display and interior specialty fittings since 1964, and a manufacturer and distributor of hanging systems for more than two decades, having completed over 35,000 installations in North America.
The breadth of product lines, quality of solutions, and professional service enables the company to continue leadership in providing unique hardware support for art, display materials and signage to a vast variety of business categories and institutions including museums and art galleries, custom framing enterprises, retail stores, education, libraries, commercial office buildings, hospitality and health care markets.
After all, we honestly believe that when you call you are choosing to do business with us, the people that collectively make AS Hanging Display Systems. We believe you choose to do business with people and not a company. Hang with the Best®

- GENERAL

  - RELATED SECTIONS

** NOTE TO SPECIFIER ** Delete any sections below not relevant to this project; add others as required.

    - Section 06 10 00 - Rough Carpentry.

  - SUBMITTALS

    - Submit under provisions of Section 01 30 00 - Administrative Requirements.

    - Product Data: Manufacturer's data sheets on each product to be used, including:

      - Preparation instructions and recommendations.

      - Storage and handling requirements and recommendations.

      - Installation methods.

    - LEED Submittals:

      - Product Data for Credit MR 4.1 and Credit MR 4.2: For products having recycled content, submit documentation indicating percentages by weight of postconsumer and preconsumer recycled content. Include statement indicating cost for each product having recycled content.

      - Product Data for Credit EQ 4.2: For paints and coatings, submit documentation including VOC content.

      - Product Certificates for Credit MR 5.1 and Credit MR 5.2: For products and materials required to comply with requirements for regional materials, submit certificates indicating location of material manufacturer and point of extraction, harvest, or recovery for each raw material. Include statement indicating distance to Project, cost for each regional material, and fraction by weight that is considered regional.

** NOTE TO SPECIFIER ** Include Shop Drawings only for work that involves custom fabrication or if Shop Drawings are typically prepared to assist in the performance of the work involved. Delete if not required.

    - Shop Drawings: Include details of construction, and relationship with adjacent construction.

    - Verification Samples: For each finish product specified, two samples, minimum size 6 inches square representing actual product, color, and patterns.

  - QUALITY ASSURANCE

    - Manufacturer Qualifications: Minimum 5 year experience manufacturing similar products.

    - Installer Qualifications: Minimum 2 year experience installing similar products.

** NOTE TO SPECIFIER ** Include a mock-up if the project size and/or quality warrant taking such a precaution. The following is one example of how a mock-up on a large project might be specified. When deciding on the extent of the mock-up, consider all the major different types of work on the project.

    - Mock-Up: Provide a mock-up for evaluation of surface preparation techniques and application workmanship.

      - Finish areas designated by Architect.

      - Do not proceed with remaining work until workmanship is approved by Architect.

      - Remodel mock-up area as required to produce acceptable work.

  - PRE-INSTALLATION MEETINGS

    - Convene minimum two weeks prior to starting work of this section.

  - DELIVERY, STORAGE, AND HANDLING

    - Deliver and store products in manufacturer's unopened packaging bearing the brand name and manufacturer's identification until ready for installation.

    - Handling: Handle materials to avoid damage.

  - PROJECT CONDITIONS

    - Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results. Do not install products under environmental conditions outside manufacturer's recommended limits.

  - SEQUENCING

    - Ensure that products of this section are supplied to affected trades in time to prevent interruption of construction progress.

  - WARRANTY

    - Warranty: Submit manufacturer's standard limited one year warranty.

- PRODUCTS

  - MANUFACTURERS

    - Acceptable Manufacturer: AS Hanging Display Systems, which is located at: 8396 State Route 9; West Chazy, NY 12992 ; Toll Free Tel: 866-935-6949 ; Email: request info (info@ashanging.com); Web: www.ashanging.com

    - Web: http://www.ashanging.com.

** NOTE TO SPECIFIER ** Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

    - Substitutions: Not permitted.

    - Requests for substitutions will be considered in accordance with provisions of Section 01 60 00 - Product Requirements.

** NOTE TO SPECIFIER ** The DISPLAY REVEAL SYSTEM is based on the only imbedded reveal that also serves as a display or art hanging system track. When is not in use the track appears just as any other reveal and is flush with the wall surface. However, do not mistake it with commonly available wall reveals. This design is patented and the design transfers weight suspended from cables and/or rods into the reveal cavity avoiding reliance on the reveal lip. This product has no substitutes. Do not mix and match vertical components with those from other manufacturers. Consult AS Hanging for the best hanging configuration of cables/rods and hooks once building is occupied and art, display materials, notices and signage have been selected including framed and non-framed media due to weight and other variations among the objects to be hung. Delete if not required.

  - REVEAL HANGING AND DISPLAY SYSTEM

    - Display Reveal System as manufactured by AS Hanging Display Systems. Provide materials and components required to provide a complete system by AS Hanging Display Systems for hanging corporate branding, display materials, informational and directional signage, art and regulatory notices, with reveal track as indicated or scheduled. Refer to Drawings.

** NOTE TO SPECIFIER ** When using cables/rods, the system is to be used with a single track and suspended cables/rod. However, for creative and aesthetic purposes parallel runs of reveal may be specified. Delete configuration not required.

      - Configuration: Suspended Cables.

      - Configuration: Suspended Rods.

      - Aesthetic: Flush-mounted (sub-surface) reveal that doubles as a track.

      - Display Reveal: Imbedded within wall, with no exposed fasteners.

      - Track Weight Capacity: minimum of 110 lb./linear foot.

      - Vertical Component: Stainless cables and Nylon cords, Aluminum and Stainless rods.

** NOTE TO SPECIFIER ** Delete options not required.

      - Option: Anti-theft variant. (Rod based solution)

      - Option: Earthquake zone/preparedness variant.

    - Display Reveal: Aluminum (patented)

      - Finish: Silver, satin anodized.

    - Vertical Component/Cable:

** NOTE TO SPECIFIER ** Delete P-End Cable/Cord not required.

      - Cable: P-End Stainless Steel Cable. Minimum weight capacity; 45 lbs

** NOTE TO SPECIFIER ** Nylon cord can be used for suspended configuration only. Delete if not required.

      - Cord: P-End Transparent Nylon Cord. Minimum weight capacity; 15 lbs

** NOTE TO SPECIFIER ** Delete cable/cord length not required. Extra cable length may be coiled and hidden behind framed objects. Specify length and material.

      - Cable Length: 48 inches.

      - Cable Length: 72 inches.

      - Cable Length: 96 inches.

      - Cable Length: 120 inches.

    - Vertical Component/Rod:

** NOTE TO SPECIFIER ** Delete P-End Rods not required.

      - Rod: P-End Rod, Stainless Steel.

      - Rod: P-End Rod, Aluminum.

      - Rod: Anti-Theft Rod, Aluminum.

** NOTE TO SPECIFIER ** Delete rod lengths not required. Specify length and material. Extra length may be removed in field.

      - Rod Length (stainless steel only): 12 inches (30 cm).

      - Rod Length: 24 inches.

      - Rod Length: 48 inches.

      - Rod Length: 60 inches.

      - Rod Length: 72 inches.

      - Rod Length: 96 inches.

** NOTE TO SPECIFIER ** Delete finishes not required.

      - Aluminum Rod Finish: Silver Satin Anodized.

      - Aluminum Rod Finish: Champagne Anodized.

      - Aluminum Rod Finish: Black Anodized.

      - Aluminum Rod Finish: Warm White (semi-gloss) Powder Coat. (Not available in 96 inches)

      - Stainless Steel Rod Finish: Mill.

    - Hooks: Provide manufacturer's recommended type and quantity of hooks.

- EXECUTION

  - EXAMINATION

    - Do not begin installation until substrates have been properly prepared.

    - If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

  - PREPARATION

    - Clean surfaces thoroughly prior to installation.

    - Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

  - INSTALLATION

** NOTE TO SPECIFIER ** Installation guidelines are provided with each shipment and are also downloadable at ASHanging.com.

    - Install in accordance with manufacturer's instructions, approved submittals, and in proper relationship with adjacent construction.

** NOTE TO SPECIFIER ** Paragraph below is for Reveal Hanging and Display System only. This system requires blocking not required for the other systems.

    - Reveal Hanging and Display System: Review additional mounting and blocking requirements and verify that adequate blocking is provided.

  - CLEANING

    - Clean installed system and remove excess materials.

    - Deliver any unused cable and fittings to Owner.

  - PROTECTION

    - Protect installed products until completion of project.

    - Touch-up, repair or replace damaged products before Substantial Completion.

END OF SECTION